APPENDIX K

Energy Storage System (ESS) Application Requirements / System Operating Characteristics / Market Participation

Application Requirements

- Provide a general overview / description and associated scope of work for the proposed project. Is the new ESS project associated with a new or existing DG facility? (If information is available.) Use the example given below for the project description if information is available.

- Identify whether this is a Stand-Alone or Hybrid ESS proposal, or a change to the operating characteristics of an existing system. If Hybrid ESS, please select the configuration option:

- Hybrid Option A - ESS is charged exclusively by the DG

- Hybrid Option B - ESS will not export to the grid, only DG will.

- Hybrid Option C - ESS may charge/discharge unrestricted from the grid, but grid consumption by ESS is netted out of grid exports.1

- Hybrid Option D - ESS may charge/discharge unrestricted from the grid, but any consumption on the account is netted out of grid exports

- N/A- not Value Stack

1 ESS may have restricted charge/discharge to be defined in Question 2e.

- Market participation:2

- Compensated under a utility tariff(s)? If yes, please specify. Identify any associated use case stacking (i.e., parallel standby, net meter, VDER, import only, export only, peak shaving, generator firming, demand response, etc.) if applicable.

- NYISO markets? If yes, has the NYISO process been initiated? Please specify which anticipated NYISO market(s).

- As part of an NWA? If yes, please specify which associated NWA.

- Program or market not listed? If yes, please describe.

- Indicate DER system nameplate rating based on the proposed project configuration, i.e., stand-alone, AC-coupled or DC-coupled. The values should be broken down by existing DER and DER to be installed in the DER Nameplate Rating table below. Also indicate the total exporting capacity and total importing capacity, including all losses in the Storage Capacity Table.

| DER System |  | Inverter Nameplate Rating |  | Factory Limited Nameplate Rating* |  |
| --- | --- | --- | --- | --- | --- |
|  |  | kW | kVA | kW | kVA |
| Stand-Alone |  |  |  |  |  |
| AC-Coupled System |  |  |  |  |  |
| DC-Coupled System |  |  |  |  |  |

Table 1. DER Nameplate Rating

* If the factory nameplate rating reflects system limitations, the equipment manufacturer shall additionally provide a letter verifying the factory limited reduced rating of the system before the utility can utilize the factory limited nameplate rating in the CESIR.

2 Market participation information is non-binding but may be used to verify operating characteristics and metering configuration. Participation in NYISO markets and NW A programs may influence technical study.

Table 2. Storage Capacity

| Storage Capacity in kWh |  |
| --- | --- |
| Total Export Capacity |  |
| Total Import Capacity – Charging and Losses |  |
| Round Trip Efficiency |  |

- Provide specification data/rating sheets for both the AC and/or DC components including the manufacturer, model, and nameplate ratings (kW) of the inverter(s)/converters(s) and controllers for the ESS and/or DG system, and capacity of ESS unit(s) (kWh).

- Indicate the type of Energy Storage (ES) technology to be used. For example, NaS, Dry Cell, PB-acid, Li-ion, vanadium flow, etc.

- Will the proposed project provide both real power and reactive power (PQ injection)?

- Will the proposed project provide reactive power control, either via volt/VAR mode or specific power factor?

- Indicate whether the interconnected inverters inverter(s)/converter(s) is/are compliant to the latest versions of the following additional standards. If partially compliant to subsections of the latest standards, please list those subsections:

- IEEE 1547a – 2018

- UL 1741, including supplement B (UL 1741 SB), with settings as specified in the utility's technical requirements document

- List the UL 1741 CRD for PCS, if this applies to the project. Also mention the certification tests that were performed and/or excluded for the proposed inverter.

- List the UL 1741 CRD for Multimode, if this applies to the project. Also mention the certification tests that were performed for the proposed inverter.

- List the system's maximum import in kW AC, including any equipment and ancillary loads (i.e., HVAC) to be installed to facilitate the ESS installation.

List the ancillary equipment's maximum import in kW and kV A for HV AC and other aggregated ancillary loads in the table below. Where data on ancillary equipment load is unavailable, please provide the best estimate.

Table 3. List of Ancillary Equipment and Load

| Ancillary Equipment | Ancillary Load |  |
| --- | --- | --- |
|  | kW | kVA |

- Indicate desired ramp rates in kW/second during charging and discharging (worst case will be assumed if not provided). Please attach a charge and discharge data/curve.

- Is the ESS symmetrical or asymmetrical (e.g., charge magnitude equivalent to discharge magnitude)? Provide proposed inverter(s) power factor operating range and anticipated operational setpoints3 in the context of the expected two-quadrant or four-quadrant operation.

- Indicate the maximum potential change in power magnitude expressed in equipment limitations such as per-second, minute, hour, or day, and kW or% of kW as applicable.

| Study Operation Windows | Yes/No |
| --- | --- |

- Add check boxes against the preferred charging and discharging windows in Table 5 below. For a 24/7 unrestricted schedule, check all boxes for charging and discharging windows. Where scheduled operation is selected, please ensure that the energy storage system's operation is aligned with the local utility's guidelines for charging and discharging. Be advised that the specific conditions and requirements of the local electrical circuit will be the determining factor for the final operational charge/discharge windows and rates. If not specified, the utility will prescribe operational windows based on the local utility's guidelines for scheduled operation. Also indicate any specific operational limitations that will be imposed (e.g., will not charge or discharge across PCC between 2-7 pm; etc.).
Please indicate if the project should be studied for one or both scenarios.

Table 4. Preferred Study Operation Windows

If 24/7 unrestricted operation is not selected, please fill the table below. In the Capacity (kW) column, mention the fraction of battery nameplate capacity in whole numbers that will charge or discharge.
3 Final setpoints are subject to change per utility's direction.

Table 5. 24/7 Charging and Discharging Schedule

| Time of Operation | Charging |  | Discharging |  |
| --- | --- | --- | --- | --- |
|  | Check as applicable | Capacity (kW) | Check as applicable | Capacity (kW) |  |
| 2400-0100 |  |  |  |  |  |
| 0100-0200 |  |  |  |  |  |
| 0200-0300 |  |  |  |  |  |
| 0300-0400 |  |  |  |  |  |
| 0400-0500 |  |  |  |  |  |
| 0500-0600 |  |  |  |  |  |
| 0600-0700 |  |  |  |  |  |
| 0700-0800 |  |  |  |  |  |
| 0800-0900 |  |  |  |  |  |
| 0900-1000 |  |  |  |  |  |
| 1000-1100 |  |  |  |  |  |
| 1100-1200 |  |  |  |  |  |
| 1200-1300 |  |  |  |  |  |
| 1300-1400 |  |  |  |  |  |
| 1400-1500 |  |  |  |  |  |
| 1500-1600 |  |  |  |  |  |
| 1600-1700 |  |  |  |  |  |
| 1700-1800 |  |  |  |  |  |
| 1800-1900 |  |  |  |  |  |
| 1900-2000 |  |  |  |  |  |
| 2000-2100 |  |  |  |  |  |
| 2100-2200 |  |  |  |  |  |
| 2200-2300 |  |  |  |  |  |
| 2300-2400 |  |  |  |  |  |

- Provide a summary of protection and control scheme functionality and provide details of any integrated protection of control schematics and default settings within controllers.

- Submit control schemes, electrical configurations, and sufficient details for the utility to review and confirm acceptance of proposal. Detail any integrated control scheme(s) that are included in the interconnected inverter(s)/converters including a sequence of operations for expected events, energy flows, or power restrictions. For example, provide details if the ESS can be charged only through the DG input, or if the ESS can be switched to be charged from the line input, or if a control scheme is proposed to prohibit power flow directionality or peak values. Provide details on grounding of the interconnected ESS and/or DG system to meet utility's effective grounding requirements.

- Provide short circuit current capabilities and harmonic output from the hybrid ESS project or stand-alone ESS.

- If the intended use case for the ESS includes behind-the-meter backup services, please provide a description and documentation illustrating how the entire system disconnects from the utility during an outage (e.g., mechanical or electronic, coordination, etc.).

Optional Questions

Questions in this section are not required for a complete application, although any responses provided may support the utility's decision to review the project performance in a manner that could result in less impact to the customer interconnection.

- Indicate whether the interconnected inverters inverter(s)/converter(s) is/are compliant to the latest versions of the following additional standards. If partially compliant to subsections of the latest standards, please list those subsections:

- Any other recognized standard or practice. Indicate the maximum frequency of change in operating modes (i.e., charging to discharging and vice-versa) that will be allowed based upon control system configurations.

- Provide details on standard communication as follows:

  - Hardware interfaces that are available, e.g., TCP/IP, serial, etc.

  - Protocols that are available, e.g., MODBUS, DNP-3, 2030.5, etc.

  - Data models that are available, e.g., 61850-90-7, SunSpec, MESA, 2030.5, OpenADR, etc.

- Provide details on whether the inverter(s)/converter(s) have any intrinsic grid support functions, such as autonomous or interactive voltage and frequency support. If so, please describe these functions and default settings.