## Application Template >50kW-5MW
The following submittals are required from the customer for submission of an application for a distributed generation/DER project above 50 kW up to 5000 kW only, as per Appendix F ("APPLICATION PACKAGE CHECKLIST") of the New York State Standardized Interconnection Requirements and Application Process for New Distributed Generators and/or Energy Storage Systems 5 MW or Less Connected in Parallel with Utility Distribution Systems (NYS SIR, available from: https://dps.ny.gov/distributed-generation-information) and requirements by NYSEG/RG&E. The customer has 30 business days upon submission of the application to provide all items and information noted, without deficiencies, before their project is rejected.
PROJECT ID:
REVIEW HISTORY (UTILITY ONLY):
mm/dd/yyyy - Review
Required Item / Information | Description
NYS Standardized Acknowledgment of Property Owner Consent Form (Appendix H) | A document which must be executed by the customer and the property owner. Refer to Appendix H of the New York State Standardized Interconnection Requirements document. For the latest version of the NYS SIR, see :
https://dps.ny.gov/nys-standardized-interconnection-requirements
Letter of Authorization (Site Control Certification Form) | A document to be signed by the customer, to provide for the contractor to act as the customer's agent, if necessary. Refer to Appendix J of the New York State Standardized Interconnection Requirements document. For the latest version of the NYS SIR, see:
https://dps.ny.gov/nys-standardized-interconnection-requirements
DER Registration Compliance Form | A document which nsures that project owners comply with the Public Service Commission's Uniform Business Practices for Distributed Energy Resource Suppliers (UBP-DERS) when dealing with mass-market or community solar/generation customers. For the latest version of the DER Registration Compliance Form, see:
https://dps.ny.gov/der-registration-compliance-form-interconnection-applicants
Site Plan | If requesting New Service, a site plan with the proposed interconnection point identified by a Google Earth, Bing Maps, or similar satellite image. (For projects on existing services, account and meter numbers shall be provided.) Please refer to the following template for a ground-mounted project:
https://www.rge.com/documents/d/rge/drawing-template-ground-mounted-r2
Full Single-Line Diagram (1LD) | Must include detailed information on the wiring configuration of the PCC and an exact representation of existing utility service. All inverter specifications (namely, manufacturer, model, quantity, rating (kW), derating (kW, if done), and power factor) must be clearly shown in an equipment table on the drawing. Please refer to the following template for a ground-mounted project:
https://www.rge.com/documents/d/rge/drawing-template-ground-mounted-r2
Full Three-Line Diagram (3LD) | Must include detailed information on the wiring configuration of the PCC and an exact representation of existing utility service. All inverter specifications (namely, manufacturer, model, quantity, rating (kW), derating (kW, if done), and power factor) must be clearly shown in an equipment table on the drawing. Please refer to the following template for a ground-mounted project:
https://www.rge.com/documents/d/rge/drawing-template-ground-mounted-r2
Project Narrative | Description/Narrative of the project & site proposed. (If multiple DG systems are being proposed at the same site/location, this information needs to be identified and explained in detail.)
DG technology type | Solar (PV), battery storage (BESS), or hybrid (PV with AC- or DC-coupled battery storage)
DG fuel source/configuration
Proposed project nameplate in AC kW and DC kW
Project is Net Metered, Remote Credit, CDG, or SSFA
Copy of the inverter manufacturer's certificate of compliance referencing UL 1741 SB | All inverters must be UL 1741 SB-compliant
Copy of the inverter manufacturer's data sheet | Inverter cutsheet showing UL 1741 SB certification and IEEE-1547 certification. NOTE: UL 1741 SB certification effective required date 1/1/2023
Appendix K | A document required for standalone and hybrid storage projects. Refer to Appendix K of the NYS SIR. For the fillable form of the Appendix K based on the NYS SIR, see:
https://www.nyseg.com/documents/d/nyseg/appendix-k-fillable-form-docx
Circuit/Feeder ID | The identifier of the feeder/circuit to be interconnected to, as permitted by NYSEG/RG&E. The identifier must be as provided on the utility's hosting capacity map
GPS coordinates of project site | The latitude and longitude of the project site, in decimal-degrees form
Additional Reference Documentation & Websites
NYS Standardized Interconnection Requirements (SIR): | https://dps.ny.gov/nys-standardized-interconnection-requirements
NYSEG Distribute Generation Page: | https://www.nyseg.com/smartenergy/innovation/distributedgeneration
RG&E Distribute Generation Page: | https://www.rge.com/smartenergy/innovation/distributed-generation
NYSEG/RG&E Requirements for the Interconnection of Distributed Energy Resources: | https://www.nyseg.com/documents/d/nyseg/bulletin-86-01
NYS DPS DER Material Modifications Guidance Document: | https://es.dps.ny.gov/system/files/documents/2022/11/material-modifications-guidance-final.docx

## DATA
Completed?
Yes
No
Deficient
Missing
Not Required